EQUIPMENT LIST FOR DEPARTMENT OF EMERGENCY MEDICINE

| SR.NO | NAME OF EQUIPMENT | QUANTITY REQUIRED AS PER NMC NORMS |
| --- | --- | --- |
| 1 | ICU beds with propping up, railings and wheels | 06 |
| 2 | Trolley cum bed - propping up, railings and wheels, X ray compatible and Oxygen cylinder carrying facility | 24 |
| 3 | Central Oxygen and suction points | 30 |
| 4 | Cardiac monitors with ETCO2 facility with appropriate accessories for all age groups | 10 |
| 5 | Cardiac monitors- NIBP, Oxygen saturation and heart rate. Blood pressure cuff for neonates, infants, children, adolescents | 15 |
| 6 | Pulse oximeter with probes for all age group | 02 |
| 7 | Defibrillator with external pacer with additional attachments paddles for paediatric age group | 02 |
| 8 | ECG machine 12 leads | 02 |
| 9 | ICU ventilators to ventilate neonates and children | 10 |
| 10 | Transport ventilator -deliver 50 ml TV with pressure control mode | 02 |
| 11 | HHHFNC -with circuits and interfaces for all age group | 02 |
| 12 | Trolley or beds Xray compatible with Oxygen cylinder carrying facility | 10 |
| 13 | Portable Ultrasound with multiple probes -ECHO probes, infant and paediatric probes | 02 |
| 14 | Portable Xray Unit- 100mA | 01 |
| 15 | Resuscitation Cart | 02 |
| 16 | Crash Cart | 02 |
| 17 | Syringe pump | 10 |
| 18 | Infusion pump | 35 |
| 19 | Artificial self-inflating breathing bag- Adult, paediatric, infant, neonate with face mask all sizes | 04 Sets |
| 20 | Laryngoscopes -all sizes, blades all sizes include McCoy | 04 sets |
| 21 | Point Of Care laboratory for quantitative estimation of cardiac enzymes, ABG and electrolytes | At least 1 |
| 22 | Oxygen cylinders | 04 |
| 23 | Portable suction machine | 04 |
| 24 | Ultrasonic nebulizers | 04 |
| 25 | Spine boards with slings and scotch tape for all sizes- | 05 |
| 26 | Splints for all types of fracture | 10 |
| 27 | Philadelphia collar | 05 |
| 28 | X ray view box- LED | 02 |
| 29 | Hard cervical collar | 10 |
| 30 | Thomas splint -all sizes | 10 |
| 31 | Ankle traction set | 05 |
| 32 | Wheelchair- with Oxygen carrying facility | 02 |
| 33 | Wheelchair | 03 |
| 34 | Patient shifting trolley -railings | 02 |
| 35 | Patient shifting roller | 02 |
| 36 | Pelvic binder | 05 |
| 37 | Abdominal binder | 05 |
| 38 | Pedestal light portable | 02 |
| 40 | Disaster Trolley- propping up, railings and wheels, X ray compatible and Oxygen cylinder carrying facility | 02 |
| 41 | Disaster Cupboard | 01 |
| 42 | Regular cupboard for storage | 05 |
| 43 | Basic equipment for suturing and wound care |  |
| 44 | Glucometer | 02 |
| 45 | Infant radiant warmer with bassinet | 02 |
| 46 | Blood and fluid warmer | 01 |
| 47 | Electric warming blanket | 01 |
| 48 | Rapid autoclave machine | 01 |
| 49 | Labour cot | 01 |
| 50 | ACLS, BLS and airway mannequins- child and adult | 01 each |
|  | FOR OPERATION THEATRE |  |
| 1 | Operation table | 01 |
| 2 | Operation theatre ceiling light | 01 |
| 3 | Pedestal lights | 02 |
| 4 | Electro surgical cautery unit | 02 |
| 5 | Central Suction point | 01 |
| 6 | Central Oxygen point | 01 |
| 7 | Central vacuum point | 01 |
| 8 | Oxygen Cylinder | 01 |
| 9 | Nitrous oxide cylinder | 01 |
| 10 | Anaesthesia workstation | 01 |
| 11 | Anaesthesia Equipment | 01 |
| 12 | Resuscitation Kit | 01 |
| 13 | Patient shifting Roller | 01 |